FRO / HALO

SALSA — Survey Notes
SALSA_Obs_Torre_Rock

Francesco Di Giovanni — Bolzano, Italia — August 20, 2026 — v1.0

# 1. Description and Purpose

Observing session dedicated to characterising the pointing obstruction caused by a rock near the Torre telescope. This is not a scientific sky survey, but an instrumental measurement: the purpose is to determine at which azimuth and/or elevation ranges the rock reduces or blocks the received signal from Torre, so that affected pointings can be excluded or corrected in future scientific surveys.

# 2. Observational Parameters

- Telescope: SALSA Torre (Onsala Space Observatory)

- Observation date: 19 July 2026

- Number of FITS files: ~60 short repeated pointings

- Centre frequency: 1420.4 MHz (HI line)

# 3. Status

- Status: acquisition completed on 19 July 2026

- Analysis: pending — comparison of signal vs azimuth/elevation to identify the rock shadow

- FRO v17 file: not yet produced

# 4. Operational Notes

The results of this session should be integrated into the operational procedure for SALSA Torre scientific surveys: pointings at affected azimuth ranges should be excluded or flagged in the FRO file as quality flags. Until the analysis is complete, consider Torre data in those azimuth ranges as potentially contaminated.

# 5. References

SALSA Portal — Onsala Space Observatory:

https://salsa.oso.chalmers.se

salsa.oso.chalmers.se

FRO/HALO project GitHub repository:

https://github.com/Digio1/FRO-HALO

github.com/Digio1/FRO-HALO

Document generated: August 2026 — Francesco Radio Observatory / HALO